## Connections Register
Connections Register
Last updated: 5 November 2025
SONI has developed this Connections Register in compliance with Grid Code PC6.4.1. For any queries on this Connections Register, please contact: connections@soni.ltd.uk
SONI issues offers to NIE Networks, in its role as Distribution Network Owner, for the Transmission works to connect Cluster Substations under Section S of the Transmission Interface Arrangements. These are not covered in the SONI Connection Register. For more information on Clusters, please see here: https://www.nienetworks.co.uk/connections/generation-connections/small-large-scale/clusters
Generation - Connection Agreement and/or TUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Ballylumford Power Station GT1 | Transmission - 110 kV | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne Co Antrim, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 58
Ballylumford Power Station GT2 | Transmission - 110 kV | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne Co Antrim, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 58
Ballylumford Power Station BT10 | Transmission - 110 kV | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne Co Antrim, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 98.4
Ballylumford Power Station BGT20 | Transmission - 275 kV | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne Co Antrim, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 479
Kilroot Power Station K1 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, Co Antrim, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 255.26
Kilroot Power Station K2 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, Co Antrim, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 257.92
Kilroot Power Station KGT1 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, Co Antrim, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 29
Kilroot Power Station KGT2 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, Co Antrim, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 29
Coolkeeragh Power Station GT8 | Transmission - 110 kV | Coolkeeragh ESB Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | pre-92 | Issued | Issued | 247996 | 422072 | 53
Owenreagh Wind Farm | Distribution - 33 kV | Owenreagh Power Partners Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EB | 1997-01-01 | Connection Agreement between User and NIE Networks | Issued | 243319 | 395426 | 5.5
Lendrum's Bridge Wind Farm | Distribution - 33 kV | Lendrum's Bridge Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2000-01-01 | Connection Agreement between User and NIE Networks | Issued | 242351 | 355080 | 13.2
Altahullion Wind Farm | Distribution - 33 kV | Altahullion Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2003-04-01 | Connection Agreement between User and NIE Networks | Issued | 262726 | 413984 | 26
Snugborough Wind Farm | Distribution - 33 kV | Gortmullan Energy Limited | Mearescourt Rathconrath, Mullingar, Co. Westmeath | 2003-10-01 | Connection Agreement between User and NIE Networks | Issued | 225524 | 321698 | 13.5
Tappaghan Wind Farm | Distribution - 33 kV | Tappaghan Wind Farm (N.I.) Limited | The Innovation Centre (Unit 18), NI Science Park, Queens Road, Belfast, BT3 9DT | 2004-12-01 | Connection Agreement between User and NIE Networks | Issued | 229136 | 367913 | 28.5
Coolkeeragh Power Station GS | Transmission - 110 kV | Coolkeeragh ESB Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | 2005-05-01 | Issued | Issued | 247996 | 422072 | 147
Coolkeeragh Power Station GT | Transmission - 275 kV | Coolkeeragh ESB Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | 2005-05-01 | Issued | Issued | 247996 | 422072 | 266
Callagheen Wind Farm | Distribution - 33 kV | Callagheen Wind Farm Limited | Arnott House, 12-16 Bridge Street, Belfast, BT1 1LS | 2006-01-01 | Connection Agreement between User and NIE Networks | Issued | 199194 | 354433 | 16.9
Bin Mountain Wind Farm | Distribution - 33 kV | Bin Mountain Windfarm (N.I.) Limited | The Innovation Centre (Unit 18), NI Science Park, Queens Road, Belfast, BT3 9DT | 2007-04-01 | Connection Agreement between User and NIE Networks | Issued | 225057 | 376292 | 9
Lough Hill Wind Farm | Distribution - 33 kV | Lough Hill Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2007-05-01 | Connection Agreement between User and NIE Networks | Issued | 224717 | 375811 | 7.8
Altahullion 2 Wind Farm | Distribution - 33 kV | Altahullion Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2007-09-01 | Connection Agreement between User and NIE Networks | Issued | 262640 | 413981 | 11.7
Slieve Rushen 2 Wind Farm | Distribution - 33 kV | Mantlin Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EF | 2007-10-01 | Connection Agreement between User and NIE Networks | Issued | 224938 | 323147 | 54
Wolf Bog Wind Farm | Distribution - 33 kV | ScottishPower Renewables (UK) Limited | The Soloist, 1 Lanyon Place, Belfast, Northern Ireland, BT1 3LP | 2007-11-01 | Connection Agreement between User and NIE Networks | Issued | 322273 | 396088 | 10
Bessy Bell 2 Wind Farm | Distribution - 33 kV | SSE Renewables UK Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2008-04-01 | Connection Agreement between User and NIE Networks | Issued | 240025 | 381650 | 9
Owenreagh 2 Wind Farm | Distribution - 33 kV | Owenreagh Wind Farm Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EF | 2008-09-01 | Connection Agreement between User and NIE Networks | Issued | 243319 | 395425 | 5.1
Slieve Divena 1 Wind Farm | Distribution - 33 kV | Slieve Divena Wind Farm Limited | Murray House, Murray Street, Belfast, BT1 6DN | 2008-09-01 | Connection Agreement between User and NIE Networks | Issued | 258081 | 362048 | 30
Garves Wind Farm | Distribution - 33 kV | Garves Wind Limited | C/O Dmh Stallard (0594), 6 New Street Square, New Fetter Lane, London, England, EC4A 3BF | 2008-12-16 | Connection Agreement between User and NIE Networks | Issued | 300684 | 416124 | 15
Gruig Wind Farm | Distribution - 33 kV | Gruig Wind Farm Limited | Forsyth House, Cromac Square, Belfast, BT2 8LA | 2008-12-17 | Connection Agreement between User and NIE Networks | Issued | 312332 | 421263 | 25
Kilroot Power Station KGT3 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, Co Antrim, BT38 7LX | 2009-03-01 | Issued | Issued | 343857 | 388613 | 42
Kilroot Power Station KGT4 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, Co Antrim, BT38 7LX | 2009-03-01 | Issued | Issued | 343857 | 388613 | 42
Hunters Hill Wind Farm | Distribution - 33 kV | Hunters Hill Wind Farm Limited | 2 Electra Road, Maydown, Londonderry, Northern Ireland, BT47 6UL | 2010-03-01 | Connection Agreement between User and NIE Networks | Issued | 242353 | 355082 | 20
Crockagarran Wind Farm | Distribution - 33 kV | Crockagarran Wind Farm Ltd | 2 Electra Road, Maydown, Londonderry, Northern Ireland, BT47 6UL | 2010-07-01 | Connection Agreement between User and NIE Networks | Issued | 263287 | 367657 | 18
Curryfree Wind Farm | Distribution - 33 kV | Hunters Hill Wind Farm Limited (Curryfree site) | 2 Electra Road, Maydown, Londonderry, Northern Ireland, BT47 6UL | 2011-03-01 | Connection Agreement between User and NIE Networks | Issued | 244666 | 409084 | 15
Screggagh Wind Farm | Distribution - 33 kV | Screggagh Wind Farm Limited | The Innovation Centre (Unit 18), NI Science Park, Queens Road, Belfast, BT3 9DT | 2011-03-01 | Connection Agreement between User and NIE Networks | Issued | 243433 | 356659 | 20
Slieve Kirk Wind Farm | Transmission - 110 kV | SSE Renewables UK Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2011-10-12 | Issued | Issued | 247265 | 408008 | 73.6
Church Hill Wind Farm | Distribution - 33 kV | Church Hill Energy Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2012-04-01 | Connection Agreement between User and NIE Networks | Issued | 218690 | 378075 | 18.4
Crighshane Wind Farm | Distribution - 33 kV | Crighshane Energy Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2012-04-01 | Connection Agreement between User and NIE Networks | Issued | 213301 | 377720 | 32.2
Carrickatane Wind Farm | Distribution - 33 kV | Hunters Hill Wind Farm Limited (Carrickatane site) | 2 Electra Road, Maydown, Londonderry, Northern Ireland , BT47 6UL | 2012-12-05 | Connection Agreement between User and NIE Networks | Issued | 243220 | 407706 | 20.7
Carn Hill Wind Farm | Distribution - 33 kV | Carn Hill Windfarm Limited | 2nd Floor Princes Street, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2013-03-27 | Connection Agreement between User and NIE Networks | Issued | 334171 | 388216 | 13.8
Dunmore Wind Farm | Distribution - 33 kV | Dunmore Wind Farm Limited | 42-46 Fountain Street, Belfast, Co. Antrim, BT1 5EF | 2014-01-01 | Connection Agreement between User and NIE Networks | Issued | 275350 | 428430 | 21
Dunbeg Wind Farm | Distribution - 33 kV | Dunbeg Windfarm Limited | 2nd Floor Princes Street, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2014-08-01 | Connection Agreement between User and NIE Networks | Issued | 275985 | 426680 | 42
Thornog Wind Farm | Distribution - 33 kV | Thornog Windfarm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2014-09-01 | Connection Agreement between User and NIE Networks | Issued | 224550 | 371290 | 20
Molly Mountain Wind Farm | Distribution - 33 kV | Molly Wind Limited | Carnhill House Carn, Kinawley, Enniskillen, County Fermanagh, BT92 4HG | 2014-11-27 | Connection Agreement between User and NIE Networks | Issued | 224385 | 327318 | 15
Lisahally Power Station (Biomass) | Distribution - 33 kV | ERE Developments Limited | Lisahally Power Station 18 Lisahally Road, Maydown, Derry, BT47 6FL | 2015-06-07 | Connection Agreement between User and NIE Networks | Issued | 247489 | 421789 | 17.6
Monnaboy Wind Farm | Distribution - 33 kV | Monnaboy Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2015-10-27 | Connection Agreement between User and NIE Networks | Issued | 256311 | 415122 | 12
Seegronan Wind Farm | Distribution - 33 kV | Seegronan Windfarm Limited | 21 Arthur Street, Belfast, Co. Antrim, BT1 4GA | 2016-04-01 | Connection Agreement between User and NIE Networks | Issued | 219630 | 378150 | 14.1
Cloonty Wind Farm | Distribution - 33 kV | Cloonty Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2016-06-01 | Connection Agreement between User and NIE Networks | Issued | 296262 | 435363 | 9.2
Tievenameenta Wind Farm | Distribution - 33 kV | SSE Renewables UK Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2016-09-01 | Connection Agreement between User and NIE Networks | Issued | 216348 | 377345 | 34.5
Ora More Wind Farm | Distribution - 33 kV | Ora More Energy Limited | Tricor Suite, 4th Floor, 50 Mark Lane, London, England, EC3R 7QR | 2016-10-01 | Connection Agreement between User and NIE Networks | Issued | 208004 | 342759 | 15
Cregganconroe Wind Farm | Distribution - 33 kV | Cregganconroe Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 266800 | 373692 | 13.8
Eglish Wind Farm | Distribution - 33 kV | Hunter's Hill Wind Farm Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 249929 | 405313 | 15
Eshmore Wind Farm | Distribution - 33 kV | Eshmore Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 265856 | 366119 | 7.05
Glenbuck Wind Farm | Distribution - 33 kV | Mosslee Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 300684 | 416123 | 9.2
Gortfinbar Wind Farm | Distribution - 33 kV | Gortfinbar Windfarm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 263031 | 367107 | 15
Long Mountain Wind Farm | Distribution - 33 kV | Long Mountain Wind Farm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 299361 | 415243 | 27.6
Altamuskin Wind Farm | Distribution - 33 kV | Altamuskin Windfarm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 257476 | 363844 | 14.1
Crockandun Wind Farm | Distribution - 33 kV | Crockandun Wind Farm Limited | 42-46 Fountain Street, Belfast, BT1 5EF | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 278467 | 388803 | 15
Crockbaravally Wind Farm | Distribution - 33 kV | Crockbaravally Wind Farm Limited | 138 University Street, Belfast, BT7 1HJ | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 262424 | 363592 | 7.5
Lisburn Solar Park (Ballinderry Road) | Distribution - 33 kV | RFE Solar Park 15 Limited | c/o Cleaver Fulton Rankin, 50 Bedford Street, Belfast, BT2 7FW | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 323214 | 365136 | 16.92
Slieve Divena 2 Wind Farm | Distribution - 33 kV | Slieve Divena Wind Farm No. 2 Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 257992 | 363192 | 18.8
Bann Road PV Farm | Distribution - 33 kV | Bann Road Solar Project Limited | Suite 7 Aurora House Deltic Avenue, Rooksley, Milton Keynes, England, MK13 8LW | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 296418 | 413988 | 29.81
Inishative Wind Farm | Distribution - 33 kV | Inishative Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 266403 | 368578 | 13.8
Lough Road PV Farm | Distribution - 33 kV | GSII NI Solar Cluster Limited | 27 Old Gloucester Street, London, WC1N 3AX | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 317129 | 369239 | 21
Millar Farm PV | Distribution - 33 kV | GSII Millar Farm Limited | 27 Old Gloucester Street, London, WC1N 3AX | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 312836 | 389729 | 6.27
Shantavany Scotch Wind Farm | Distribution - 33 kV | Tyrone Wind Energy Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EF | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 258283 | 361213 | 16.1
Altaveedan Wind Farm | Distribution - 33 kV | Altaveedan Energy Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2017-04-01 | Connection Agreement between User and NIE Networks | Issued | 310970 | 426874 | 18
Crockdun Wind Farm | Distribution - 33 kV | Hunter's Hill Wind Farm Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | 2017-06-01 | Connection Agreement between User and NIE Networks | Issued | 260379 | 376926 | 12.5
Brockaghboy Windfarm | Transmission - 110 kV | Brockaghboy Windfarm Ltd | c/o TCI Renewables Limited, 1c Kilroot Park, Carrickfergus, Co. Antrim, BT38 7PR | 2017-08-01 | Issued | Issued | 280940 | 410690 | 47.5
Rathsherry Wind Farm | Distribution - 33 kV | Wheelhouse Energy (NI) Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2017-12-01 | Connection Agreement between User and NIE Networks | Issued | 315457 | 411716 | 21.15
Finvoy Road Solar Farm | Distribution - 33 kV | Finvoy Solar Limited | 7th Floor, Holborn, London, EC1N 2HT | 2017-12-01 | Connection Agreement between User and NIE Networks | Issued | 296772 | 413757 | 5.209
Maghaberry Solar Farm | Distribution - 33 kV | Maghaberry Solar Limited | 7th Floor, Holborn, London, EC1N 2HT | 2018-01-01 | Connection Agreement between User and NIE Networks | Issued | 318350 | 364188 | 20.43
Elginny Hill Wind Farm | Distribution - 33 kV | Antrim Wind Energy Ltd | A&L Goodbody, 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EB | 2018-02-01 | Connection Agreement between User and NIE Networks | Issued | 314291 | 411090 | 23
Laurel Hill Road Solar Park | Distribution - 33 kV | Laurel Hill Solar Limited | Murray House, Murray Street, Belfast, Northern Ireland, BT1 6DN | 2018-02-01 | Connection Agreement between User and NIE Networks | Issued | 313228 | 351662 | 8.5
Ballygarvey Road Solar Park | Distribution - 33 kV | Ballygarvey Solar Limited | 1 Lumley Street, London, W1K 6TT | 2018-03-01 | Connection Agreement between User and NIE Networks | Issued | 312141 | 405025 | 6
Bombardier Energy from Waste Plant | Distribution - 33 kV | Short Brothers Plc | Airport Road, Belfast, BT3 9DZ | 2018-03-01 | Connection Agreement between User and NIE Networks | Issued | 336968 | 376633 | 9.98
Pollnalaght (Cornavarrow) Wind Farm | Distribution - 33 kV | Cornavarrow Windfarm Limited | Forsyth House, Cromac Square, Belfast, BT2 8LA | 2018-06-01 | Connection Agreement between User and NIE Networks | Issued | 235712 | 370329 | 36
Slieveglass Wind Farm | Distribution - 33 kV | Slieveglass Wind Farm Limited | Forsyth House, Cromac Square, Belfast, BT2 8LA | 2018-07-01 | Connection Agreement between User and NIE Networks | Issued | 227595 | 377848 | 6.9
Castlecraig Wind Farm | Distribution - 33 kV | Willmount Limited | c/o Carson McDowell LLP, Murray House, Murray Street, Belfast, BT1 6DN | 2018-07-01 | Connection Agreement between User and NIE Networks | Issued | 226618 | 375358 | 25
Teiges Mountain Wind Farm | Distribution - 33 kV | Teiges Mountain Wind Farm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2018-07-01 | Connection Agreement between User and NIE Networks | Issued | 243115 | 339660 | 11
Evishagaran Wind Farm | Distribution - 33 kV | Evishagaran Wind Farm Ltd | 42 - 46 Fountain Street, Belfast, BT1 5EF | 2021-12-07 | Connection Agreement between User and NIE Networks | Issued | 274875 | 410827 | 46.8
Craiggore Wind Farm | Distribution - 33 kV | Craiggore Energy Limited | 42 - 46 Fountain Street, Belfast, BT1 5EF | 2021-12-09 | Connection Agreement between User and NIE Networks | Issued | 276942 | 416841 | 23.5
Ballykeel Wind Farm | Distribution - 33 kV | Ballykeel Wind Farm Limited | 42 - 46 Fountain Street, Belfast, BT1 5EF | 2023-02-09 | Connection Agreement between User and NIE Networks | Issued | 334101 | 402680 | 16.1
Kilroot Power Station GT6 | Transmission - 275 kV | EP NI Energy Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | 2023-12-08 | Issued | Issued | 343832 | 388835 | 350
Kilroot Power Station GT7 | Transmission - 275 kV | EP NI Energy Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | 2024-03-10 | Issued | Issued | 343832 | 388835 | 350
Murley Mountain Wind Farm | Distribution - 33 kV | Murley Renewable Energy Limited | Suite 5, 7th Floor, 50 Broadway, London, United Kingdom, SW1H 0DB | 2024-04-10 | Connection Agreement between User and NIE Networks | Issued | 242594 | 352535 | 21.6
Newry Power - Carnmeen Power Station | Distribution - 33 kV | Powerhouse Generation Limited | Suite 105, Lisburn Enterprise Centre, 6 Enterprise Crescent, Lisburn, BT28 2BP | 2024-10-11 | Connection Agreement between User and NIE Networks | Issued | 307869 | 330383 | 20
Corlacky Wind Farm | Distribution - 33 kV | Corlacky Energy Limited | 42 - 46 Fountain Street, Belfast, BT1 5EF | 2025-07-02 | Connection Agreement between User and NIE Networks | Issued | 281460 | 407640 | 47.3
Magherakeel Wind Farm | Distribution - 33 kV | Magherakeel Wind Farm Limited | 37 Rockdale Road, Cookstown, BT80 9BA | 2025-08-11 | Connection Agreement between User and NIE Networks | Issued | 218191 | 378840 | 7.05
Ballyutoag Wind Farm | Distribution - 33 kV | Ballyutoag Wind Farm Limited | 1 Davies Road, Newtownstewart , Omagh, BT78 4NH | 2025-09-01 | Connection Agreement between User and NIE Networks | Issued | 327935 | 379512 | 9.99
Aggregated Generator Unit (AGU) - Generator Aggregator System Operator Agreement and/or GTUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Initial Operational Date | Status of Generator Aggregator System Operator Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Registered Capacity (MW) * | Interacting Group (where applicable)
[7 empty] | Easting | Northing
iPower AGU | Distribution - ≤ 33 kV | iPower Flexible Energy Ltd | Lisnagarvagh House, 1 Lissue Walk, Lisburn, County Antrim, Northern Ireland, BT28 2LU | 2011-02-09 | Issued | Issued | - | - | 62.606
Contour Global AGU | Distribution - ≤ 33 kV | ContourGlobal Solutions (Northern Ireland) Limited | c/o A&L Goodbody Limited, 6th Floor Lesley Tower, 42-46 Fountain Street, Belfast, BT1 5EF | 2014-03-01 | Issued | Issued | - | - | 12.084
Empower AGU | Distribution - ≤ 33 kV | Empower Generation Limited | Wesler House, 45 Church View, Holywood, County Down, BT18 9DP | 2014-08-01 | Issued | Issued | - | - | 12.755
* Registered Capacity of the AGU in the Market. Please note that this reflects the generation from across all member generators, which may be limited by the MEC under the relevant Connection Agreement for the sites that the member generators are connected.
Demand Side Unit (DSU) - Demand Side Unit System Operator Interface Agreement and/or GTUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Initial Operational Date | Status of Demand Side Unit System Operator Interface Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Registered Capacity (MW)* | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Powerhouse DSU (PH1) | Distribution - ≤ 33 kV | Powerhouse Generation Limited | The Courtyard, 62a Drumnabreeze Road, Magheralin, BT67 0RH | 2015-10-12 | Issued | N/A** | - | - | 13.173
Energy Trading Ireland DSU (ETR) | Distribution - ≤ 33 kV | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2015-11-01 | Issued | N/A** | - | - | 4.037
Activation Energy DSU (AEA) | Distribution - ≤ 33 kV | Activation Energy DSU Ltd | Fitzwilliam Business Centre, 70 Sir John Rogersons Quay, Dublin 2, Ireland | 2016-08-01 | Issued | N/A** | - | - | 1.561
AC Automation DSU (ACA) | Distribution - ≤ 33 kV | AC Automation (UK) Limited | Trooperslane Industrial Estate, 5 Sloughfield Park, Carrickfergus, BT38 8GR | 2017-01-01 | Issued | N/A** | - | - | 7.625
Endeco (EC3) DSU (ECA) | Distribution - ≤ 33 kV | Endeco Technologies Limited | 3015 Lake Drive, Citywest Business Park, Dublin 24 | 2017-01-01 | Issued | N/A** | - | - | 24.305
Energy Trading Ireland DSU (ETB) | Distribution - ≤ 33 kV | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2017-06-01 | Issued | N/A** | - | - | 5.542
Energy Trading Ireland DSU (ETD) | Distribution - ≤ 33 kV | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2018-07-01 | Issued | N/A** | - | - | 6.304
Powerhouse DSU (PH2) | Distribution - ≤ 33 kV | Powerhouse Generation Limited | The Courtyard, 62a Drumnabreeze Road, Magheralin, BT67 0RH | 2020-01-01 | Issued | N/A** | - | - | 11.424
iPower DSU (ID2) | Distribution - ≤ 33 kV | iPower Solutions Limited | Carnmoney House, Edgewater Road, Belfast, County Antrim, Northern Ireland, BT3 9JQ | 2020-10-01 | Issued | N/A** | - | - | 5.4
Viotas DSU (VN1) | Distribution - ≤ 33 kV | Viotas Limited | Bord na Mona, Main Street, Newbridge, County Kildare | 2020-11-01 | Issued | N/A** | - | - | 7.912
Energy Trading Ireland DSU (ETC) | Distribution - ≤ 33 kV | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2021-11-01 | Issued | N/A** | - | - | 4.039
Endeco DSU (ECB) | Distribution - ≤ 33 kV | Endeco Technologies Limited | 3015 Lake Drive, Citywest Business Park, Dublin 24 | 2022-09-01 | Issued | N/A** | - | - | 8.867
iPower DSU (ID1) | Distribution - ≤ 33 kV | iPower Solutions Limited | Carnmoney House, Edgewater Road, Belfast, County Antrim, Northern Ireland, BT3 9JQ | 2022-10-01 | Issued | N/A** | - | - | 4.166
iPower DSU (ID3) | Distribution - ≤ 33 kV | iPower Solutions Limited | Carnmoney House, Edgewater Road, Belfast, County Antrim, Northern Ireland, BT3 9JQ | 2023-09-01 | Issued | N/A** | - | - | 15.067
Energy Trading Ireland DSU (ETE) | Distribution - ≤ 33 kV | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2023-10-01 | Issued | N/A** | - | - | 5.031
Energy Trading Ireland DSU (ETF) | Distribution - ≤ 33 kV | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2023-10-01 | Issued | N/A** | - | - | 5.053
* Registered Capacity of the DSU in the Market. Please note that this reflects the demand reduction capability of the DSU and can be a combination of pure demand reduction, offsetting demand with generation and generation export.
** Any export associated with the capacity does not, on aggregate, exceed 5 MW.
Battery Storage - Connection Agreement and/or TUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Drumkee Battery Storage | Transmission - 110 kV | Drumkee Energy Limited | The Scalpel, 18th Floor, 52 Lime Street, London, EC3M 7AF | 2020-11-01 | Issued | Issued | 285594 | 363427 | 50 / 50
Mullavilly Battery Storage | Transmission - 110 kV | Mullavilly Energy Limited | The Scalpel, 18th Floor, 52 Lime Street, London, EC3M 7AF | 2020-12-01 | Issued | Issued | 302230 | 347923 | 50 / 50
Castlereagh Battery Storage | Transmission - 110 kV | Belfast Energy Storage Company Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2022-04-14 | Issued | Issued | 337905 | 370179 | 50 / 50
Kells Battery Storage | Transmission - 110 kV | Kells BES Ltd | Unit 1 Wallace Studios, Wallace Avenue, Lisburn, BT27 4AE | 2022-05-25 | Issued | Issued | 318024 | 396633 | 50 / 50
Bann (Ballydown) Battery Storage | Distribution - 33 kV | Heron Storage Limited | 2 St. Patricks Street, Draperstown, County Londonderry, United Kingdom, BT45 7AL | 2024-07-08 | Connection Agreement between User and NIE Networks | Issued | 313890 | 344693 | 12.224 / 12.224
Interconnector - Connection Agreement and/or TUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Moyle Interconnector | Transmission - 275 kV | Mutual Energy | First Floor, The Arena Building 85 Ormeau Road, Belfast, BT7 1SH | 2001 | Issued | N/A | 343253 | 401762 | 500 / 500 | -
Large Demand Customer - Connection Agreement and/or TUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
- | - | - | - | - | - | - | - | - | - | -
Synchronous Condenser - Connection Agreement and/or TUoS Agreement Issued
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
- | - | - | - | - | - | - | - | - | - | -
Generation - Applications Deemed Effective
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Curraghmulkin Wind Farm | Transmission - 110 kV | Dooish Wind Farm Ltd. | c/o DW Consultancy Ltd, 109 Whitney Drive, Stevenage, Hertfordshire, SG1 4BL | N/A (Not Connected Yet) | In Progress | Awaiting Application | 232300 | 368738 | 42
Pigeon Top Wind Farm | Transmission - 110 kV | Pigeon Top Wind Farm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | N/A (Not Connected Yet) | In Progress | Awaiting Application | 235099 | 369189 | 51.6
EP Kilroot GT West CCGT | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Connected Yet) | In Progress | Awaiting Application | 343832 | 388835 | 500
Prime Power Generation (CCGT) | Transmission - 275 kV | Prime Power Generation Limited | 16 Churchtown Road, Cookstown, BT80 9XD | N/A (Not Connected Yet) | In Progress | Awaiting Application | 337101 | 376827 | 480
EP Kilroot CCGT ST2 | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Energised Yet) | In Progress | Awaiting Application | 343832 | 388835 | 300
Polaris Offshore Wind Array 1 A | Transmission - 275 kV | Western Power Offshore NI Limited | The Soloist Building, 1 Lanyon Place, Belfast, United Kingdom, BT1 3LP | N/A (Not yet energised) | In Progress | Awaiting Application | 352220 | 335206 | 500
Kilroot MFF CHP | Transmission - 275 kV | EP Kilroot Energy Park Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Energised Yet) | In Progress | Awaiting Application | 344406 | 388919 | 44
Battery Storage - Applications Deemed Effective
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Derrymeen Battery Storage | Transmission - 110 kV | SSE Derrymeen BESS Limited | Millenium House, 25 Great Victoria Street, Belfast BT2 7AQ | N/A (Not Connected Yet) | In Progress | Awaiting Application | 285620 | 363480 | 100 / 100
Colinglen Battery Storage | Transmission - 110 kV | Hannahstown BESS Ltd | 141 Camlough Road, Carrickmore, Omagh, County Tyrone, BT79 9BS | N/A (Not Connected Yet) | In Progress | Awaiting Application | 326837 | 371876 | 50 / 50
Tureagh Battery Storage | Transmission - 110 kV | Lagan Energy (Balyvallagh) Limited | Rosemount House, 23 Sydenham Road, Belfast BT3 9HA | N/A (Not Connected Yet) | In Progress | Awaiting Application | 337564 | 395073 | 50 / 50
Brown's Bay Battery Storage | Transmission - 110 kV | Green Energy Hub NI Ltd | 2-14 East Bridge Street, Belfast, BT1 3NQ | N/A (Not Connected Yet) | In Progress | Awaiting Application | 342959 | 402121 | 150 / 150
Magherafelt Battery Storage | Transmission - 275 kV | Magherafelt BES Ltd | Unit 1, Wallace Studios, Wallace Ave, Lisburn BT27 4AE | N/A (Not Connected Yet) | In Progress | Awaiting Application | 289078 | 387636 | 195 / 195
Coolkeeragh Battery Storage | Transmission - 110 kV | Coolkeeragh BES Ltd | Unit 1, Wallace Studios, Wallace Ave, Lisburn BT27 4AE | N/A (Not Connected Yet) | In Progress | Awaiting Application | 247888 | 421627 | 140 / 140
HSL Ballylumford East Battery Storage | Transmission - 110 kV | Heron Storage Limited | 2 St. Patrick Street, Draperstown, Magherafelt, BT45 7AL | N/A (Not Connected Yet) | In Progress | Awaiting Application | 343079 | 401427 | 100 / 100
SIWL Magherakeel Battery Storage | Transmission - 110 kV | SI Wind Limited | 1 Davies Road, Newtownstewart, Omagh, County Tyrone, BT78 4NH | N/A (Not Connected Yet) | In Progress | Awaiting Application | 217236 | 378304 | 50 / 50
HSL Magherakeel Battery Storage | Transmission - 110 kV | Heron Storage Limited | 2 St. Patrick Street, Draperstown, Magherafelt, BT45 7AL | N/A (Not Connected Yet) | In Progress | Awaiting Application | 217349 | 378826 | 50 / 50
HSL Kells Battery Storage | Transmission - 110 kV | Heron Storage Limited | 2 St. Patrick Street, Draperstown, Magherafelt, BT45 7AL | N/A (Not Connected Yet) | In Progress | Awaiting Application | 317023 | 394590 | 100 / 100
EPBL Ballylumford Battery Storage | Transmission - 275 kV | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford Islandmagee Larne, BT40 3RS | N/A (Not Connected Yet) | In Progress | Awaiting Application | 342257 | 402264 | 300 / 300
Large Demand Customer - Applications Deemed Effective
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Atlantic Hub Data Centre | Transmission - 110 kV | Atlantic Hub Property Limited | 6 Bayview Terrace, Londonderry, Northern Ireland, BT48 7EE | N/A (Not Connected Yet) | In Progress | TBC | 247861 | 421807 | 80
Kilroot Data Centre | Transmission - 275 kV | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Connected Yet) | In Progress | TBC | 344405 | 388672 | 300
Synchronous Condenser - Applications Deemed Effective
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Coolkeeragh High Inertia Synchronous Compensator Stability Project | Transmission - 275 kV | Faughan Stability Limited | 19th Floor, 22 Bishopsgate, London EC2N 4BQ | N/A (Not Connected Yet) | In Progress | TBC | 248205 | 421475 | 0 / 8
Coleraine High Inertia Synchronous Compensator Stability Project | Transmission - 110 kV | Bush Hill Stability Limited | 19th Floor, 22 Bishopsgate, London EC2N 4BQ | N/A (Not Connected Yet) | In Progress | TBC | 283834 | 429795 | 0 / 8
Gort Synchronous Condenser | Transmission - 110 kV | Green Frog Power (Gort) Limited | 17 The Courtyard, Gorsey Lane, Coleshill, B46 1JA | N/A (Not Connected Yet) | In Progress | TBC | 257178 | 359901 | 0 / 3.5
Dromore Synchronous Condenser | Transmission - 110 kV | Western Grid Services Limited | 21 Arthur Street, Belfast BT1 4GA | N/A (Not Connected Yet) | In Progress | TBC | 239753 | 364837 | 0/6
Interconnector - Applications Deemed Effective
Unit | Connection Level | User's Name | User's Contact Details | Connection Date | Status of Transmssion Connection Agreement | Status of TUoS Agreement | Electrical Connection Point Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
LiRIC - HVDC Interconnector | Transmission - 275 kV | TI LIRIC Limited | 17th Floor, 88 Wood Street, London, EC2V 7DA | N/A (Not Connected Yet) | In Progress | N/A | 344384 | 389472 | 500 / 730