## Sheet1
Date | Unit | MW Lost | Pre-incident [Hz] | Frequency Nadir [Hz] | Trip Type | Full Trip | Investigation
2012-10-01 | Moyle | 250MW | 49.989 | 49.662 | Direct Trip | y | This is being followed up through ongoing Performance Monitoring
2012-10-10 | Huntstown 2 | 202 | 50.04 | 49.57 | Direct Trip | Yes | This is being followed up through ongoing Performance Monitoring
2012-10-10 | Tynagh | 249 | 50.04 | 49.57 | Fast Wind Down | Yes | Unit tripped in sympathy 13 seconds after Huntstown 2 trip