## Sheet1
Date | Unit | MW Lost | Pre-incident [Hz] | Frequency Nadir [Hz] | Trip Type | Full Trip | Investigation
2012-10-01 | Moyle | 250MW | 49.989 | 49.662 | Direct Trip | y | This is being followed up through ongoing Performance Monitoring
2012-10-10 | Huntstown 2 | 202 | 50.04 | 49.57 | Direct Trip | Yes | This is being followed up through ongoing Performance Monitoring
2012-10-10 | Tynagh | 249 | 50.04 | 49.57 | Fast Wind Down | Yes | Unit tripped in sympathy 13 seconds after Huntstown 2 trip
2012-10-14 | Moneypoint 2 | 249 | 50.04 | 49.76 | Direct Trip | No | This is being followed up through the ongoing Performance Monitoring Process.
2012-10-17 | Moneypoint 3 | 147 | 49.97 | 49.83 | Slow Wind Down | Yes | This is being followed up through the ongoing Performance Monitoring Process.
2012-11-04 | Huntstown 2 | 210 | 50.06 | 49.79 | Direct Trip | Yes | This is being followed up through the ongoing Performance Monitoring Process.
2012-11-06 | Whitegate 1 | 435 | 49.97 | 49.13 | Direct Trip | Yes | This is being followed up through the ongoing Performance Monitoring Process.
2012-11-20 | Moneypoint 2 | 293 | 50.05 | 49.76 | Fast Wind Down | Yes | This is being followed up through the ongoing Performance Monitoring Process.
2012-11-20 | East West Interconnector | 238 | 49.97 | 49.78 | Direct Trip | Yes | This is being followed up through the ongoing Performance Monitoring Process.
2012-10-30 | C30 | 209 | 49.99 | 49.761 | Direct Trip | Yes | This is being followed up through the ongoing Performance Monitoring Process.