## Connections Register
Connections Register
Last updated: 29th September 2022
SONI have developed this Connections Register in compliance with Grid Code PC6.4.1. For any queries on this Connections Register, please contact: connections@soni.ltd.uk
SONI issue offers to NIE Networks, in its role as Distribution Network Owner, for the Transmission works to connect Cluster Substations under Section S of the Transmission Interface Arrangements. These are not covered in the SONI Connection Register. For more information on Clusters, please see here: https://www.nienetworks.co.uk/connections/generation-connections/generation-useful-resources
Generation - Connected
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Export Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Ballylumford Power Station GT1 | Transmission | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 58
Ballylumford Power Station GT2 | Transmission | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 58
Ballylumford Power Station BT10 | Transmission | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 98.4
Ballylumford Power Station BGT20 | Transmission | EP Ballylumford Limited | Ballylumford Power Station, Ballylumford, Islandmagee, Larne, BT40 3RS | pre-92 | Issued | Issued | 342348 | 401678 | 479
Kilroot Power Station K1 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 255.26
Kilroot Power Station K2 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 257.92
Kilroot Power Station KGT1 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 29
Kilroot Power Station KGT2 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | pre-92 | Issued | Issued | 343857 | 388613 | 29
Coolkeeragh Power Station GT8 | Transmission | Coolkeeragh ESB Limited | 2 Electra Road, Maydown, Derry, BT47 6UL | pre-92 | Issued | Issued | 247996 | 422072 | 53
Owenreagh Wind Farm | Distribution | Owenreagh Power Partners Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EB | 1997-01-01 | Connection Agreement between User and NIE Networks | Issued | 242349 | 396275 | 5.5
Lendrum's Bridge Wind Farm | Distribution | Lendrum's Bridge Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2000-01-01 | Connection Agreement between User and NIE Networks | Issued | 242698 | 354636 | 13.2
Altahullion Wind Farm | Distribution | Altahullion Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2003-04-01 | Connection Agreement between User and NIE Networks | Issued | 261949 | 413181 | 26
Snugborough Wind Farm | Distribution | Gortmullan Energy Limited | Mearescourt Rathconrath, Mullingar, Co. Westmeath | 2003-10-01 | Connection Agreement between User and NIE Networks | Issued | 225560 | 321600 | 13.5
Tappaghan Wind Farm | Distribution | Tappaghan Wind Farm (N.I.) Limited | The Innovation Centre (Unit 18), NI Science Park, Queens Road, Belfast, BT3 9DT | 2004-12-01 | Connection Agreement between User and NIE Networks | Issued | 229093 | 368191 | 28.5
Coolkeeragh Power Station GS | Transmission | Coolkeeragh ESB Limited | 2 Electra Road, Maydown, Derry, BT47 6UL | 2005-05-01 | Issued | Issued | 247996 | 422072 | 147
Coolkeeragh Power Station GT | Transmission | Coolkeeragh ESB Limited | 2 Electra Road, Maydown, Derry, BT47 6UL | 2005-05-01 | Issued | Issued | 247996 | 422072 | 266
Callagheen Wind Farm | Distribution | Callagheen Wind Farm Limited | Arnott House, 12-16 Bridge Street, Belfast, BT1 1LS | 2006-01-01 | Connection Agreement between User and NIE Networks | Issued | 199109 | 354913 | 16.9
Bin Mountain Wind Farm | Distribution | Bin Mountain Windfarm (N.I.) Limited | The Innovation Centre (Unit 18), NI Science Park, Queens Road, Belfast, BT3 9DT | 2007-04-01 | Connection Agreement between User and NIE Networks | Issued | 223817 | 374313 | 9
Lough Hill Wind Farm | Distribution | Lough Hill Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2007-05-01 | Connection Agreement between User and NIE Networks | Issued | 225276 | 375585 | 7.8
Altahullion 2 Wind Farm | Distribution | Altahullion Wind Farm Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2007-09-01 | Connection Agreement between User and NIE Networks | Issued | 261894 | 412785 | 11.7
Slieve Rushen 2 Wind Farm | Distribution | Mantlin Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EF | 2007-10-01 | Connection Agreement between User and NIE Networks | Issued | 225059 | 323785 | 54
Wolf Bog Wind Farm | Distribution | ScottishPower Renewables (UK) Limited | The Soloist, 1 Lanyon Place, Belfast, Northern Ireland, BT1 3LP | 2007-11-01 | Connection Agreement between User and NIE Networks | Issued | 323109 | 396692 | 10
Bessy Bell 2 Wind Farm | Distribution | SSE Renewables UK Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2008-04-01 | Connection Agreement between User and NIE Networks | Issued | 239622 | 381549 | 9
Owenreagh 2 Wind Farm | Distribution | Owenreagh Wind Farm Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EF | 2008-09-01 | Connection Agreement between User and NIE Networks | Issued | 242727 | 395952 | 5.1
Slieve Divena 1 Wind Farm | Distribution | Slieve Divena Wind Farm Limited | Murray House, Murray Street, Belfast, BT1 6DN | 2008-09-01 | Connection Agreement between User and NIE Networks | Issued | 258465 | 362646 | 30
Garves Wind Farm | Distribution | Garves Wind Limited | C/O Dmh Stallard (0594), 6 New Street Square, New Fetter Lane, London, England, EC4A 3BF | 2008-12-16 | Connection Agreement between User and NIE Networks | Issued | 299275 | 418126 | 15
Gruig Wind Farm | Distribution | Gruig Wind Farm Limited | Forsyth House, Cromac Square, Belfast, BT2 8LA | 2008-12-17 | Connection Agreement between User and NIE Networks | Issued | 311607 | 421152 | 25
Kilroot Power Station KGT3 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | 2009-03-01 | Issued | Issued | 343857 | 388613 | 42
Kilroot Power Station KGT4 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | 2009-03-01 | Issued | Issued | 343857 | 388613 | 42
Hunters Hill Wind Farm | Distribution | Hunters Hill Wind Farm Limited | 2 Electra Road, Maydown, Londonderry, Northern Ireland, BT47 6UL | 2010-03-01 | Connection Agreement between User and NIE Networks | Issued | 243368 | 354658 | 20
Crockagarran Wind Farm | Distribution | Crockagarran Wind Farm Ltd | 2 Electra Road, Maydown, Londonderry, Northern Ireland, BT47 6UL | 2010-07-01 | Connection Agreement between User and NIE Networks | Issued | 263414 | 367749 | 18
Curryfree Wind Farm | Distribution | Hunters Hill Wind Farm Limited (Curryfree site) | 2 Electra Road, Maydown, Londonderry, Northern Ireland, BT47 6UL | 2011-03-01 | Connection Agreement between User and NIE Networks | Issued | 244222 | 409385 | 15
Screggagh Wind Farm | Distribution | Screggagh Wind Farm Limited | The Innovation Centre (Unit 18), NI Science Park, Queens Road, Belfast, BT3 9DT | 2011-03-01 | Connection Agreement between User and NIE Networks | Issued | 242915 | 356301 | 20
Slieve Kirk Wind Farm | Transmission | SSE Renewables UK Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2011-10-12 | Issued | Issued | 247117 | 408040 | 73.6
Church Hill Wind Farm | Distribution | Church Hill Energy Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2012-04-01 | Connection Agreement between User and NIE Networks | Issued | 218230 | 378549 | 18.4
Crighshane Wind Farm | Distribution | Crighshane Energy Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2012-04-01 | Connection Agreement between User and NIE Networks | Issued | 213120 | 377157 | 32.2
Carrickatane Wind Farm | Distribution | Hunters Hill Wind Farm Limited (Carrickatane site) | 2 Electra Road, Maydown, Londonderry, Northern Ireland , BT47 6UL | 2012-12-05 | Connection Agreement between User and NIE Networks | Issued | 242952 | 407525 | 20.7
Carn Hill Wind Farm | Distribution | Carn Hill Windfarm Limited | 2nd Floor Princes Street, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2013-03-27 | Connection Agreement between User and NIE Networks | Issued | 334181 | 388065 | 13.8
Dunmore Wind Farm | Distribution | Dunmore Wind Farm Limited | 42-46 Fountain Street, Belfast, Co. Antrim, BT1 5EF | 2014-01-01 | Connection Agreement between User and NIE Networks | Issued | 275350 | 428430 | 21
Dunbeg Wind Farm | Distribution | Dunbeg Windfarm Limited | 2nd Floor Princes Street, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2014-08-01 | Connection Agreement between User and NIE Networks | Issued | 275482 | 427244 | 42
Thornog Wind Farm | Distribution | Thornog Windfarm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2014-09-01 | Connection Agreement between User and NIE Networks | Issued | 224550 | 371290 | 20
Molly Mountain Wind Farm | Distribution | Molly Wind Limited | Carnhill House Carn, Kinawley, Enniskillen, County Fermanagh, BT92 4HG | 2014-11-27 | Connection Agreement between User and NIE Networks | Issued | 223773 | 327723 | 15
Lisahally Power Station (Biomass) | Distribution | ERE Developments Limited | Lisahally Power Station 18 Lisahally Road, Maydown, Derry, BT47 6FL | 2015-06-07 | Connection Agreement between User and NIE Networks | Issued | 247710 | 421833 | 17.6
Monnaboy Wind Farm | Distribution | Monnaboy Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2015-10-27 | Connection Agreement between User and NIE Networks | Issued | 257075 | 415629 | 12
Seegronan Wind Farm | Distribution | Seegronan Windfarm Limited | 21 Arthur Street, Belfast, Co. Antrim, BT1 4GA | 2016-04-01 | Connection Agreement between User and NIE Networks | Issued | 219630 | 378150 | 14.1
Cloonty Wind Farm | Distribution | Cloonty Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2016-06-01 | Connection Agreement between User and NIE Networks | Issued | 296770 | 435929 | 9.2
Tievenameenta Wind Farm | Distribution | SSE Renewables UK Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2016-09-01 | Connection Agreement between User and NIE Networks | Issued | 216348 | 377345 | 34.5
Ora More Wind Farm | Distribution | Ora More Energy Limited | Tricor Suite, 4th Floor, 50 Mark Lane, London, England, EC3R 7QR | 2016-10-01 | Connection Agreement between User and NIE Networks | Issued | 207457 | 342537 | 15
Cregganconroe Wind Farm | Distribution | Cregganconroe Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 266558 | 374262 | 13.8
Eglish Wind Farm | Distribution | Hunter's Hill Wind Farm Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 250484 | 405097 | 15
Eshmore Wind Farm | Distribution | Eshmore Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 265856 | 366133 | 7.05
Glenbuck Wind Farm | Distribution | Mosslee Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 300716 | 416130 | 9.2
Gortfinbar Wind Farm | Distribution | Gortfinbar Windfarm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 263013 | 366689 | 15
Long Mountain Wind Farm | Distribution | Long Mountain Wind Farm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2016-12-01 | Connection Agreement between User and NIE Networks | Issued | 301338 | 416154 | 27.6
Altamuskin Wind Farm | Distribution | Altamuskin Windfarm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 257901 | 363713 | 14.1
Crockandun Wind Farm | Distribution | Crockandun Wind Farm Limited | 42-46 Fountain Street, Belfast, BT1 5EF | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 278474 | 388828 | 15
Crockbaravally Wind Farm | Distribution | Crockbaravally Wind Farm Limited | 138 University Street, Belfast, BT7 1HJ | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 262424 | 363592 | 7.5
Lisburn Solar Park (Ballinderry Road) | Distribution | RFE Solar Park 15 Limited | c/o Cleaver Fulton Rankin, 50 Bedford Street, Belfast, BT2 7FW | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 234937 | 321569 | 16.92
Slieve Divena 2 Wind Farm | Distribution | Slieve Divena Wind Farm No. 2 Limited | Millennium House, 17-25 Great Victoria Street, Belfast, BT2 7AQ | 2017-02-01 | Connection Agreement between User and NIE Networks | Issued | 257992 | 363192 | 18.8
Bann Road PV Farm | Distribution | Rasharkin Solar PV Limited | 22 Chancery Lane, London WC2A 1LS | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 296443 | 414004 | 29.81
Inishative Wind Farm | Distribution | Inishative Windfarm Limited | 2nd Floor Princes Dock, 14 Clarendon Road, Belfast, Co. Antrim, BT1 3BG | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 265986 | 369058 | 13.8
Lough Road PV Farm | Distribution | GSII NI Solar Cluster Limited | 27 Old Gloucester Street, London, WC1N 3AX | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 313743 | 369255 | 21
Millar Farm PV | Distribution | GSII Millar Farm Limited | 27 Old Gloucester Street, London, WC1N 3AX | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 312848 | 389746 | 6.27
Shantavany Scotch Wind Farm | Distribution | Tyrone Wind Energy Limited | 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EF | 2017-03-01 | Connection Agreement between User and NIE Networks | Issued | 258801 | 360690 | 16.1
Altaveedan Wind Farm | Distribution | Altaveedan Energy Limited | Unit C1 & C2, Willowbank Business Park, Millbrook, Larne, BT40 2SF | 2017-04-01 | Connection Agreement between User and NIE Networks | Issued | 310978 | 426900 | 18
Crockdun Wind Farm | Distribution | Hunter's Hill Wind Farm Limited | 2 Electra Road, Maydown, Londonderry, BT47 6UL | 2017-06-01 | Connection Agreement between User and NIE Networks | Issued | 260197 | 376754 | 12.5
Brockaghboy Windfarm | Transmission | Brockaghboy Windfarm Ltd | c/o TCI Renewables Limited, 1c Kilroot Park, Carrickfergus, Co. Antrim, BT38 7PR | 2017-08-01 | Issued | Issued | 280940 | 410690 | 47.5
Rathsherry Wind Farm | Distribution | Wheelhouse Energy (NI) Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2017-12-01 | Connection Agreement between User and NIE Networks | Issued | 315482 | 411730 | 21.15
Finvoy Road Solar Farm | Distribution | Lightsource SPV 90 Limited | 7th Floor, Holborn, London, EC1N 2HT | 2017-12-01 | Connection Agreement between User and NIE Networks | Issued | 296772 | 413757 | 5.209
Maghaberry Solar Farm | Distribution | Lightsource SPV 94 Limited | 7th Floor, Holborn, London, EC1N 2HT | 2018-01-01 | Connection Agreement between User and NIE Networks | Issued | 318350 | 364188 | 20.43
Elginny Hill Wind Farm | Distribution | Antrim Wind Energy Ltd | A&L Goodbody, 42-46 Fountain Street, Belfast, Northern Ireland, BT1 5EB | 2018-02-01 | Connection Agreement between User and NIE Networks | Issued | 314461 | 411102 | 23
Laurel Hill Road Solar Park | Distribution | Laurel Hill Solar Limited | Murray House, Murray Street, Belfast, Northern Ireland, BT1 6DN | 2018-02-01 | Connection Agreement between User and NIE Networks | Issued | 313228 | 351662 | 8.5
Ballygarvey Road Solar Park | Distribution | Ballygarvey Solar Limited | 1 Lumley Street, London, W1K 6TT | 2018-03-01 | Connection Agreement between User and NIE Networks | Issued | 312179 | 405479 | 6
Bombardier Energy from Waste Plant | Distribution | Short Brothers Plc | Airport Road, Belfast, BT3 9DZ | 2018-03-01 | Connection Agreement between User and NIE Networks | Issued | 336968 | 376633 | 9.98
Pollnalaght (Cornavarrow) Wind Farm | Distribution | Cornavarrow Windfarm Limited | Forsyth House, Cromac Square, Belfast, BT2 8LA | 2018-06-01 | Connection Agreement between User and NIE Networks | Issued | 234560 | 379000 | 36
Slieveglass Wind Farm | Distribution | Slieveglass Wind Farm Limited | Forsyth House, Cromac Square, Belfast, BT2 8LA | 2018-07-01 | Connection Agreement between User and NIE Networks | Issued | 227595 | 377848 | 6.9
Castlecraig Wind Farm | Distribution | Willmount Limited | c/o Carson McDowell LLP, Murray House, Murray Street, Belfast, BT1 6DN | 2018-07-01 | Connection Agreement between User and NIE Networks | Issued | 226618 | 375358 | 25
Teiges Mountain Wind Farm | Distribution | Teiges Mountain Wind Farm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2018-07-01 | Connection Agreement between User and NIE Networks | Issued | 243115 | 339660 | 11
Evishagaran Wind Farm | Distribution | Evishagaran Wind Farm Ltd | 42 - 46 Fountain Street, Belfast, BT1 5EF | 2021-12-07 | Connection Agreement between User and NIE Networks | Issued | 274874 | 410848 | 46.8
Craiggore Wind Farm | Distribution | Craiggore Energy Limited | 42 - 46 Fountain Street, Belfast, BT1 5EF | 2021-12-09 | Connection Agreement between User and NIE Networks | Issued | 276584 | 417016 | 23.5
Aggregated Generator Unit (AGU) - Connected
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Generator Aggregator System Operator Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Export Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
iPower AGU | Distribution | iPower Solutions Limited | Carnmoney House, Edgewater Road, Belfast, County Antrim, Northern Ireland, BT3 9JQ | 2011-02-09 | Issued | Issued | - | - | 57.717
Contour Global AGU | Distribution | ContourGlobal Solutions (Northern Ireland) Limited | c/o A&L Goodbody Limited, 6th Floor Lesley Tower, 42-46 Fountain Street, Belfast, BT1 5EF | 2014-03-01 | Issued | Issued | - | - | 12.084
Empower AGU | Distribution | Empower Generation Limited | Wesler House, 45 Church View, Holywood, County Down, BT18 9DP | 2014-08-01 | Issued | Issued | - | - | 12.755
Demand Side Unit (DSU) - Connected
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Demand Side Unit System Operator Interface Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Export Capacity (MW)* | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Powerhouse DSU (PH1) | Distribution | Powerhouse Generation Limited | The Courtyard, 62a Drumnabreeze Road, Magheralin, BT67 0RH | 2015-10-12 | Issued | N/A | - | - | 19.517
Energy Trading Ireland DSU (ETR) | Distribution | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT. | 2015-11-01 | Issued | N/A | - | - | 13.826
Activation Energy DSU (AEA) | Distribution | Activation Energy DSU Ltd | Fitzwilliam Business Centre, 70 Sir John Rogersons Quay, Dublin 2, Ireland | 2016-08-01 | Issued | NA | - | - | 8.387
AC Automation DSU (ACA) | Distribution | AC Automation (UK) Limited | Trooperslane Industrial Estate, 5 Sloughfield Park, Carrickfergus, BT38 8GR | 2017-01-01 | Issued | NA | - | - | 7.625
Endeco (EC3) DSU (ECA) | Distribution | Endeco Technologies Limited | 3015 Lake Drive, Citywest Business Park, Dublin 24 | 2017-01-01 | Issued | NA | - | - | 28.078
Energy Trading Ireland DSU (ETB) | Distribution | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2017-06-01 | Issued | NA | - | - | 4.184
Energy Trading Ireland DSU (ETD) | Distribution | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2018-07-01 | Issued | NA | - | - | 5.133
Powerhouse DSU (PH2) | Distribution | Powerhouse Generation Limited | The Courtyard, 62a Drumnabreeze Road, Magheralin, BT67 0RH | 2020-01-01 | Issued | NA | - | - | 13.528
iPower DSU (ID2) | Distribution | iPower Solutions Limited | Carnmoney House, Edgewater Road, Belfast, County Antrim, Northern Ireland, BT3 9JQ | 2020-10-01 | Issued | NA | - | - | 5.22
Viotas DSU (VN1) | Distribution | Viotas Limited | Bord na Mona, Main Street, Newbridge, County Kildare | 2020-11-01 | Issued | NA | - | - | 6.774
Energy Trading Ireland DSU (ETC) | Distribution | Energy Trading Ireland Limited | D14/D15 Colvin House, Inspire Business Park, Carrowreagh Road, Dundonald, BT16 1QT | 2021-11-01 | Issued | NA | - | - | 4.525
* Registered Capacity of the DSU in the Market. Please note that this reflects the demand reduction capability of the unit and can be made of both pure demand reduction and generation export.
Storage - Connected
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Drumkee Battery Storage | Transmission | Drumkee Energy Limited | The Scalpel, 18th Floor, 52 Lime Street, London, EC3M 7AF | 2020-11-01 | Issued | Issued | 285594 | 363427 | 50 / 50
Mullavilly Battery Storage | Transmission | Mullavilly Energy Limited | The Scalpel, 18th Floor, 52 Lime Street, London, EC3M 7AF | 2020-12-01 | Issued | Issued | 302230 | 347923 | 50 / 50
Castlereagh Battery Storage | Transmission | Belfast Energy Storage Company Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | 2022-04-14 | Issued | Issued | 337905 | 370179 | 50 / 50
Kells Battery Storage | Transmission | Kells BES Ltd | Unit 1 Wallace Studios, Wallace Avenue, Lisburn, BT27 4AE | 2022-05-25 | Issued | Issued | 318024 | 396633 | 50 / 50
Large Demand Customer - Connected
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
- | - | - | - | - | - | - | - | - | - | -
Generation - Applications
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Export Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Curraghmulkin Wind Farm | Transmission | Dooish Wind Farm Ltd. | c/o DW Consultancy Ltd, 109 Whitney Drive, Stevenage, Hertfordshire, SG1 4BL | N/A (Not Energised Yet) | In Progress | In Progress | 232300 | 368738 | 42
EP Kilroot GT6 OCGT | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Energised Yet) | In Progress | In Progress | 343832 | 388835 | 350
Aught Wind Farm | Transmission | Aught Wind Farm Limited | 12 Milltown Business Park, Buncrana, County Donegal | N/A (Not Energised Yet) | In Progress | In Progress | 646413 | 923856 | 37.2
Pigeon Top Wind Farm | Transmission | Pigeon Top Wind Farm Limited | Greenwood House, 64 Newforge Lane, Belfast, BT9 5NF | N/A (Not Energised Yet) | In Progress | In Progress | 235683 | 369671 | 51.6
EP Kilroot GT7 OCGT | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Energised Yet) | In Progress | In Progress | 343832 | 388835 | 299
EP Kilroot GT7 OCGT (increased MEC) | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Energised Yet) | In Progress | In Progress | 343832 | 388835 | 51
EP Kilroot CCGT ST2 | Transmission | EP Kilroot Limited | Kilroot Power Station, Larne Road, Carrickfergus, BT38 7LX | N/A (Not Energised Yet) | In Progress | In Progress | 343832 | 388835 | 300
Storage - Applications
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Export / Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
- | - | - | - | - | - | - | - | - | - | -
Large Demand Customer - Applications
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Atlantic Hub Data Centre | Transmission | Atlantic Hub Property Limited | 6 Bayview Terrace, Londonderry, Northern Ireland, BT48 7EE | N/A (Not Energised Yet) | In Progress | N/A | 247861 | 421807 | 80
Synchronous Condenser - Applications
Unit | Connection Level | User's Name | User's Contact Details | Energisation Date | Status of Transmssion Connection Agreement | Status of Generator TUoS Agreement | Specific Location |  | Maximum Import Capacity (MW) | Interacting Group (where applicable)
[7 empty] | Easting | Northing
Coolkeeragh High Inertia Synchronous Compensator Stability Project | Transmission | Statkraft Ireland Limited | Building 4200, Cork Airport Business Park, Co. Cork, Cork, Ireland | N/A (Not Energised Yet) | In Progress | N/A | 248205 | 421475 | 8
Coleraine High Inertia Synchronous Compensator Stability Project | Transmission | Statkraft Ireland Limited | Building 4200, Cork Airport Business Park, Co. Cork, Cork, Ireland | N/A (Not Energised Yet) | In Progress | N/A | 283834 | 429795 | 8
Coolkeeragh Synchronous Condenser | Transmission | ESB Asset Development UK Limited | Tricor Suite, 4th Floor, 50 Mark Lane, London EC3R 7QR, United Kingdom | N/A (Not Energised Yet) | In Progress | N/A | 248030 | 421943 | 12