

**Application Form for an Offer of Terms**

**for Use of the**

**All-island Transmission Networks**

**in Respect of Generation of Electricity**

**in Northern Ireland**

**TABLE OF CONTENTS**

Page

1 Introduction 1

2 Use of System Application 3

Table 1: Applicant’s Details 4

Table 2: General information 5

Table 3: Standard Planning Data (User System Details) 6

Table 4A: Standard Planning Data (Non Power Park Module Unit Details) 7

Table 4B: Standard Planning Data (*Power Park Module\* Generating Unit* details) 8

Table 5: Standard Planning Data for Non Power Park Module\* Generating Units with a Registered Capacity >5MW 9

3 Definitions 10

# 1 Introduction

System Operator for Northern Ireland Limited (“SONI”) is the **Transmission System Operator** for Northern Ireland. It is authorised to participate in the transmission of electricity by means of a Transmission Licence issued by The Department of Enterprise, Trade and Investment (the “Department”), under Article 10(1)(b) of the Electricity (Northern Ireland) Order 1992 (the “**Order**”). It is regulated by the Utility Regulator for Northern Ireland (the “**Authority**”).

Under its Transmission Licence SONI is responsible for the planning and operation the **Transmission System** in Northern Ireland in a safe, secure, efficient manner.

SONI is the only party in Northern Ireland entitled to offer terms to enter into a Transmission Use of System Agreement, an agreement between SONI and an **Eligible Person** for use of the **All-island Transmission Networks**.

The following categories of persons should apply using this form for an offer of terms for a Transmission Use of System Agreement:

1. **Generator**s seeking a new or modified connection to the **Transmission System**; and
2. **Generator**s with a **Maximum Export Capacity** of 5MW[[1]](#footnote-1) and above seeking a new or modified connection to the **Distribution System**.

This Application Form sets out the information which must be submitted to SONI in order for SONI to prepare and offer terms to enter into a Transmission Use of System agreement.

The Transmission Use of System Agreement will specify:

1. the quantities of electricity which may be provided by such **Eligible Person** at such entry point or points on the **Transmission System**;
2. the Use of System charges to be paid by the person seeking use of the **All-island Transmission Networks** in respect of generation in Northern Ireland; and
3. such further terms as are or may be appropriate for the purposes of the agreement.

SONI shall offer terms as soon as practicable and (save where the **Authority** consents to a longer period) in any event not more than 28 days after receipt by SONI of a fully completed application from an **Eligible Person** containing all such information as SONI may reasonably require for the purpose of formulating the terms of the offer.

SONI shall not be obliged to offer to enter or to enter into any Transmission Use of System Agreement:

1. if to do so would involve SONI:
	1. in breach of its duties under Article 12 of the **Order**; or
	2. in breach of any regulations made under Article 32 of the **Order** or of any other enactment relating to safety or standards applicable in respect of the **Transmission System**; or
	3. in breach of the conditions of its Transmission Licence;
	4. in breach of the **Grid Code**; or
2. if the **Eligible Person** making the application does not undertake to be bound by such parts of the **Grid Code** and to such extent as the **Authority** shall from time to time specify in directions issued to SONI for the purposes of Condition 25 of the Licence; or
3. if, when requested to do so by SONI, NIE and/or the Republic of Ireland System Operator does not offer to enter into an agreement for connection and/or modification works in respect of the **Connection Agreement** or Transmission Use of System Agreement in question.

If the applicant is not already a party to a **Connection Agreement** or Transmission Use of System Agreement then the applicant is required to undertake, as part of this application, to comply with the provisions of the **Grid Code**. Data submitted pursuant to this application are deemed to be submitted under the **Grid Code**.

Copies of the **Grid Code** are available to download at [www.soni.ltd.uk](http://www.soni.ltd.uk).

If the generating equipment is to be connected to the Northern Ireland **Distribution System** then SONI will need to discuss this application with Northern Ireland Electricity plc (“NIE”) and by signing this Form applicants consent to information contained with this Form being shared with NIE.

Completed Application Forms should be sent to:

TUoS Applications

SONI Ltd

Castlereagh House

12 Manse Road

Belfast

BT6 9RT

If any additional information is required or if assistance is need in completing this form please contact:

connections@soni.ltd.uk

# 2 Use of System Application

1. We hereby apply to use the **All-island Transmission Networks** in respect of

|  |
| --- |
|   |

 (insert name of generating station)

from its connection to the **Distribution System** / **Transmission System**.**\***

2. We confirm that we are an **Eligible Person** and therefore are entitled to apply for an Offer of terms for use of the **All-Island Transmission Networks**.

3. We undertake for the purposes of this application to be bound by the terms of the **Grid Code**.

4. We authorise the release of information provided pursuant to this application to NIE should SONI consider it necessary.

|  |  |
| --- | --- |
| Signed by:(For and on behalf of the Applicant) |  |
| Date: |  |

**\*** Delete as appropriate

## Table 1: Applicant’s Details

|  |  |
| --- | --- |
| Company name: |   |
| Company Registered Address: |   |
| Company Registration No: |  |
| Contact within company: |  |
| Address:(if different to above) |  |
| Tel No: |  |
| Email address: |  |
| Fax No: |  |

##  Table 2: General information

|  |  |
| --- | --- |
| Project name |  |
| Address/Location of site |  |
| Grid co-ordinates of the electrical connection point |  |  |  |  |  |  |  |  |  |  |  |  |
| Site location and layout plans enclosed? | Yes / No **\***(Site Location Plan: please provide a 1:50,000 Ordnance Survey map with the location of the facility clearly marked. If it is intended that Generating Units will be spread geographically over a number of sites, please also indicate each site on this site location plan, by labelling each site.Site Layout Plan: please provide a 1:50,000 Ordnance Survey map with the **electrical connection point clearly marked with an “X”**). All generating units and other infrastructure should be shown and labelled.) |
| Has the applicant obtained Planning Permission for the facility from the NI Planning Service? | Yes / No **\*** |
| SONI requires a copy of the relevant Planning Permission(s). Has it been submitted with this application? | Yes / No **\*** |
| Is applicant an **Eligible Person** and entitled to apply for an Offer of terms for use of the **All-Island Transmission Networks?** | Yes / No **\***(If ‘Yes’, please provide evidence of the license granted under Article 10 of the **Order** or evidence that the applicant has applied for a licence under Article 10 and that this application has not been withdrawn or rejected. If claiming an exemption from the requirement to be so licensed under Article 9 of the **Order**, please advise that this is the case, and for information purposes only, the reasons for the exemption)  |
| In which BSP Group will the Power Station be connected? (Distribution connected only) |  |
| Planned date for commencing generation (dd/mm/yy): |  |

\* delete as appropriate

## Table 3: Standard Planning Data (User System Details)

|  |  |
| --- | --- |
| Has a Single Line Diagram (SLD) enclosed?(Please provide a SLD of existing and proposed arrangements of main connections and primary distribution systems showing equipment ratings and if available number and nomenclature). This should include:* Busbar layouts
* Electrical circuitry (i.e. lines, cables, transformers, switchgear etc)
* Phasing arrangements
* Earthing arrangements
* Switching facilities and interlocking arrangements
* Operating voltages
* Numbering and nomenclature
 | Yes / No **\*** |
| In the case of **Controllable** or **Dispatchable PPM**s…for Wind, a diagram showing the wind speed and direction against electrical output in MW, in “rose” format, is required. Has this information been submitted with this application?for Solar / PV, a Weather vs. Power Curve should be submitted. Has this information been submitted with this application? | Yes / No / NA **\*** |
| Total number of generating units: |  |
| Total **Registered Capacity**: |  | MW |
| **Maximum Export Capacity**: |  | MW |
| **Minimum Generation** (if applicable): |  | MW |
| Maximum auxiliary demand Active: Reactive: |  | MWMVAr |
| Operating regime of units not subject to **Central Dispatch** (e.g. continuous, peak lopping, intermittent): |  |
| Maximum 3-phase short circuit current infeed into the Transmission System:  |  | kA |
| The minimum zero sequence impedance of the applicant’s system at the Connection Point: |  | % on 100 |
| Details of any Transformers proposed to be connected on customer side of the connection point (if applicable) Rating: Positive sequence reactance: Tap change range: |  | MVA% on MVA+% to -% |

**\*** delete as appropriate

## Table 4A: Standard Planning Data (Non Power Park Module Unit Details)

Where a number of Generating Units, other than **Power Park Modules\***, are proposed to be connected, the standard Planning data shall be submitted for each type of Generating Unit. Please complete Table 4A below.

***Where a number of \*Power Park Modules (see definitions) are proposed to be connected, the standard Planning data shall be submitted for each type of Generating Unit. Please complete Table 4B below.***

If it is intended that Generating Units will be spread geographically over a number of separate sites, please also indicate this in the tables below, by stating the site or sites that each Generating Unit Type will be part of – this should align with the Site Location Plan submitted as part of this application.

Please continue on separate sheet if necessary.

|  |  |  |  |
| --- | --- | --- | --- |
|  | Generating UnitType 1 | Generating UnitType 2(if applicable) | Generating UnitType 3(if applicable) |
| Proposed for site(s) if applicable: |  |  |  |
| Prime mover type: |   |   |   |
| Generating Unit type e.g. synchronous, induction etc: |   |   |   |
| Generating Unit Rating: | **MW** | **MW** | **MW** |
| Generating Unit Terminal voltage: | **kV** | **kV** | **kV** |
| Generating Unit Power Factor range at terminals: |   |   |   |
| **Registered Capacity**: | **MW** | **MW** | **MW** |
| **Minimum Generation**: (where applicable) | **MW** | **MW** | **MW** |
| Generating Unit Power Factor rated power factor: |   |   |   |
| Maximum auxiliary demand |   |   |   |
| Active: | **MW** | **MW** | **MW** |
| Reactive: | **MVAr** | **MVAr** | **MVAr** |
| A Sustained Load diagram is required. Has this diagram been submitted along with this application?  | Yes / No \* | Yes / No \* | Yes / No \* |
| A CCGT Installation Matrix in respect of its CCGT Installations is required. Has this information been submitted along with this application? | Yes / No / N/A\* | Yes / No / N/A\* | Yes / No / N/A\* |

## Table 4B: Standard Planning Data (*Power Park Module\* Generating Unit* details)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | **Generating UnitType 1** | **Generating Unit Type 2**(if applicable) | **Generating Unit Type 3**(if applicable) |
| Proposed for site(s) if applicable: |  |  |  |
| Manufacturer of Generating Unit: |  |  |  |
| Model of Generating Unit: |  |  |  |
| Type of Generating Unit: |  |  |  |
| Number of Turbines |  |  |  |
| Rated power output of each generating unit: | **MW** |  |  |  |
| Generating Unit Terminal voltage: | **kV** |  |  |  |
| Generating Unit Power Factor range at terminals: |  |  |  |
| **Registered Capacity** (sent out): | **MW** |  |  |  |
| Maximum Generation (sent out):  | **MW** |  |  |  |
| **Minimum Generation** (sent out): | **MW** |  |  |  |
| Reactive Power Capability | **MVAr(Lagging)** |  |  |  |
| **MVAr(Leading)** |  |  |  |
| Reactive Power (Max. Gen) | *For Wind please attach Wind Turbine Power Capability Curve**For Solar* ***/*** *PV**please attach PQ Capability Curve*  |  |  |  |
| Reactive Power (Normal Full Load) |  |  |  |
| Reactive Power (Normal Minimum Load) |  |  |  |
| Maximum auxiliary demand |  |  |  |
| Active: | **MW** |  |  |  |
| Reactive: | **MVAr** |  |  |  |
| Inertia constant: | **MWs/MVA** |  |  |  |
| Short circuit ratio: |  |  |  |
| Direct axis transient reactance: | **% on MVA** |  |  |  |
| Direct axis sub-transient time constant: | **s** |  |  |  |
| Generating transformer |  |  |  |
| Rating: | **MVA** |  |  |  |
| Positive sequence reactance: | **s on MVA** |  |  |  |
| Tap change range: | **+% to -%** |  |  |  |

## Table 5: Standard Planning Data for Non Power Park Module\* Generating Units with a Registered Capacity >5MW

Where a number of Generating Units are proposed to be connected the data required by this Table 5 shall be completed for each type of Generating Unit. Please continue on separate sheet if necessary.

Generating Unit Type 1

|  |  |  |
| --- | --- | --- |
| Inertia constant: |  | MWs/MVA |
| Short circuit ratio: |  |
| Direct axis transient reactance: |  | % on MVA |
| Direct axis sub-transient time constant: |  | s |
| Generating transformer Rating: Positive sequence reactance: Tap change range: |  | MVA% on MVA+% to -% |

Generating Unit Type 2 (if applicable)

|  |  |  |
| --- | --- | --- |
| Inertia constant: |  | MWs/MVA |
| Short circuit ratio: |  |
| Direct axis transient reactance: |  | % on MVA |
| Direct axis sub-transient time constant: |  | s |
| Generating transformer Rating: Positive sequence reactance: Tap change range: |  | MVA% on MVA+% to -% |

Generating Unit Type 3 (if applicable)

|  |  |  |
| --- | --- | --- |
| Inertia constant: |  | MWs/MVA |
| Short circuit ratio: |  |
| Direct axis transient reactance: |  | % on MVA |
| Direct axis sub-transient time constant: |  | s |
| Generating transformer Rating: Positive sequence reactance: Tap change range: |  | MVA% on MVA+% to -% |

# 3 Definitions

|  |  |
| --- | --- |
| **All-island Transmission Networks** | Means the **Transmission System** and the Republic of Ireland transmission system taken together. |
| **Authority** | Means the Northern Ireland Authority for Utility Regulation, as established under the Energy Order; |
| **Central Dispatch** | The process of Scheduling and issuing Dispatch Instructions in relation to **CDGU**s, Pumped Storage Plant Demand, Energy Storage Power Station Demand, Demand Side Units, Aggregated Generating Units and/or Interconnectors direct to a Control Facility by the **TSO** pursuant to the **Grid Code**. In particular:* All **Dispatchable PPM**s shall be subject to Central Dispatch;
* All other Power Stations with a **Registered Capacity** of above 10 MW shall be subject to Central Dispatch;
* All other Power Stations with a **Registered Capacity** of 10 MW or less can agree with the **TSO** to be subject to Central Dispatch.
 |
| **Centrally Dispatched Generating Unit (or CDGU)** | A Generating Unit within a Power Station subject to **Central Dispatch**. |
| **Connection Agreement** | An agreement between SONI and a customer setting out the terms relating to a connection to the **Transmission System** or an agreement between NIE and a customer setting out the terms relating to a connection to the **Distribution System**, as the context requires; |
| **Controllable PPM (or CPPM)** | A PPM first connected to the NI System on or after 1 April 2005 whose generators comprise a **Registered Capacity** of 5 MW or more. |
| **Dispatchable PPM (or DPPM)** | A **Controllable PPM** which must have a Control Facility in order to be dispatched via an Electronic Interface by the **TSO**. |
| **Distribution System** | The electric lines within the Authorised Area, as defined in the licence held by NIE, owned by NIE, (but not, for the avoidance of doubt, any lines forming part of the **Transmission System** or any Interconnector), and any other electric lines which the **Authority** may specify as forming part of the Distribution System. |
| **Eligible Person** | Means persons licensed under Article 10 of the **Order** (or exempt from the requirement to be so licensed under Article 9 of the **Order**) or who have applied for a licence under Article 10 and whose application has not been withdrawn or rejected (including, for the avoidance of doubt, the Power Procurement Business in its capacity as such). |
| **Generator** | A person who generates electricity under a licence or exemption under the **Order** and who is subject to the **Grid Code** either by virtue of a licence or exemption or pursuant to any agreement with the **TSO** or otherwise. |
| **Grid Code** | The code of that name drawn up pursuant to SONI’s Transmission licence as amended from time to time in accordance with SONI’s licence; |
| **Maximum Export Capacity****(or MEC)** | Means the maximum permissible amount of electricity, expressed in MW, which can be exported to either the **Distribution System** (as set out in the NIE **Connection Agreement**) or the **Transmission System** (as set out in the SONI **Connection Agreement**); |
| **Minimum Generation** | The minimum MW Output which a Generating Unit can generate continuously, registered with the **TSO** under SDC1 as a Technical Parameter. |
| **Power Park Module (or PPM)** | A **Generating Unit** or ensemble of Generating Units generating electricity which: * Is connected to the System non synchronously or through power electronics, and
* Has a single Connection Point to a Transmission System, Distribution System or HVDC System.
 |
| **Order** | The Electricity (Northern Ireland) Order 1992; |
| **Registered Capacity** | The normal full load capacity of a generating unit measured at the connection point and in relation to a PPM, the normal full load capacity of the collection of one or more generating units, measured as at the connection point of the PPM. |
| **Transmission System** | The System consisting (wholly or mainly) of high voltage electric lines and cables operated by the **TSO** for the purposes of transmission of electricity from one Power Station to a sub-station or to another Power Station or between sub-stations or to or from any Interconnector including any Plant and Apparatus and meters owned or operated by the **TSO** or TO in connection with the transmission of electricity. |
| **Transmission System Operator** **(or TSO)** | The holder of the licence granted pursuant to Article 10(1)(b) of the **Order** to operate a Transmission System. |

1. Note that the threshold for Transmission Use of System (TUoS) charging is in accordance with [SEM-11-078 (**Generator** Transmission Use of System Charging)](http://www.allislandproject.org/GetAttachment.aspx?id=91fcf973-e74f-438d-8f08-d951dd0df291). [↑](#footnote-ref-1)