## Modifications Register
Modification Register
ID | Proposer | Company | Date of Proposal | Description | Impact on Grid Code | Category | GCRP Presentation Date | Status | Date of UR Decision | Notes | Link to sharepoint
SPID XX0513 | SONI GCRP | SONI | May GCRP 2013 | Change of name of Demand Side Unit from 'Dispatcahble Demand Customer' to 'Demand Side Unit Operator'. Changes ro Demand Side Unit MW Response Time, Minimum off time and method of aggregation | Intro, Glossary and Definitiions, PC6.3.3, PC.A3.4, PC.B3.3, CC.8.5.7, CC12, CC13, OC2, OC11, SDC1 and SDC2 | Standard | May GCRP 2013 | UR Approved | 2015-04-15 | Summary of 2013 mods by Regulator. Largest change to CC13 regarding Demand Side Unit MW, min off time and method od aggregation | Link
SPID 141015 | Marie-Therese Campbell | SONI | 2015-10-14 | Notice of Intent to Disconnect due to Retirement | Planning Code - addition of PC6.1.6 | Standard | 2015-10-14 | UR Approved | 2015-12-17 | Provide clarity around the retirement of plant in Northern Ireland and align the requirements with the Ireland Grid Code. | Link
SPID 150216 / MPID 268 | Raymond Skillen | SONI | 2016-11-01 | To define Outrun Availability as published in the SEMC Decision Paper SEM-15-071 in Sept 2015. | SDC1.4.3.2, SDC1.4.3.4 and SDC1.4.3.9 | Standard | 2015-12-02 | UR Approved | 2016-11-16 |  | Link
SPID 030217 | Alastair Cooke | SONI | 2017-02-03 | Metering Code – Advanced Meter Reconciliation Process | Metering Code | Standard | 2017-02-03 | UR Approved | 2017-04-04 | New defined term Relevant Meter Operator definition. Intends to provide a more efficient and reliable process for Advanced Meter reconciliation | Link
MPID-271 | Alan Kennedy | SONI | 2017-05-05 | ISEM modifications | OC10, OC11, Scheduling and Dispatch Code, Scheduling and Dispatch Code 2 | Standard | 2017-05-05 | UR Approved | 2017-08-11 | Modifications to the Operating Codes and Scheduling and Dispatching Codes to implement ISEM | Link
SPID 260619 | Daniel McSwiggan | SONI | 2019-06-11 | Integration of the RfG requirements into the Grid Code | Sections in Articles 14.3 - 21.3 excluding 17 | Standard | 2019-06-26 | UR Approved | 2020-02-02 | Derogations were required before full integration achieved | Link
SPID 01_2020 | Stephen Brownlees | EP Kilroot Limited | 2020-10-09 | Modify maximum continuous rating requirement in SONI Grid Code | Pg 151 and 158 | Standard | 2020-12-16 | UR Rejected | 2024-03-19 | Changes requirement of ouput "no greater than the lower of 80MW or 40% of its MCR" to remove the 80MW
SPID 02_2021 | Brian Mongan | Powerhouse | 2021-05-05 | Modify minimum aggregation value in Eirgrid Grid Code | Pg 377-421 | Standard | 2021-11-02 | Dormant | 2022-06-08 | Change the minimum registered capactiy of AGU and DSU from 4MW to 1MW | Link
SPID 01_2021 | Rowan Griffin | SONI | 2021-10-01 | Meter Code Changes | Metering Code | Standard | 2021-11-02 | UR Approved | 2022-03-21 | Outdated sections of code revised to bring in line with current standards | Link
SPID 03_2021 | Paul Troughton | DRAI | 2021-10-13 | Maximum Down Time Reduction | CC13.1 | Standard | 2021-11-02 | Dormant | 2022-06-15 | Remove the current requirement for 2 hours Maximum Down Time and have no minimum requirement | Link
SPID 01_2022 | Conor O'Byrne | SONI | 2022-10-03 | RoCoF changes needed to manage future operation of All-Island Power System | CC5.3, CC.8.8.4(b), CC.S1.1.5.6, CC.S1.2.4.4 | Standard | 2022-10-02 | UR Approved | 2023-05-30 | Change in ROCOF requirements
SPID 02_2022 | Catriona Kelly | SONI | 2022-11-09 | To update the PV signalling requirements in line with best practice | PPM Setting Schedule | Standard | 2022-11-09 | UR Approved |  | Currently with the Utility Regulator for Approval
SPID 03_2022 | SONI GCRP | SONI | 2023-05-08 | Incorporating ESPS requirements into the Grid Code | CC.S2, PPM setting schedule | Standard | 2023-05-08 | Open |  | Currently with the Utility Regulator for Approval
SPID 04_2023 | SONI GCRP | SONI | 2024-01-05 | Incorporating HVDC requirements into the Grid Code | To be inclusive of HVDC Network Code requirements | Standard |  | UR Approved | 2024-04-22 | Incorporated to GC July 2025
SPID 05_2023 | SONI GCRP | SONI | 2023-09-07 | Incorporating DCC requirements into the Grid Code | To be inclusive of DCC Network Code requirements | Standard |  | UR Approved | 2025-03-03 | Incorporated to GC July 2025
SPID 06_2023 | SONI GCRP | SONI | 2023-06-20 | Housekeeping - TIA and SOA definition amendments | Corrected definitions - GD1 Defined Terms | Standard |  | UR Approved | 2024-06-13 | Incorporated to GC July 2025
SPID 07_2023 | SONI GCRP | SONI | 2023-09-12 | Incorporate of Generator Aggregator System Operator Agreements | Addition of aforementioned | Standard |  | UR Approved | 2023-09-12 | Incorporated to GC July 2025
SPID 01_2024 | SONI GCRP | SONI | 2024-02-22 | Non Priority Dispatch of Renewables(NPDR) | Definitions, SDC1.4.4.5, 1.4.4.6, 1.4.4.7 | Standard | 2024-03-20 | Open | 2024-02-22 | Currently with the Utility Regulator for Approval
SPID 02_2024 | SONI GCRP | SONI | NA | Definitions RfG Gen |  |  |  | Open
SPID 03_2024 | SONI GCRP | SONI | 2024-03-04 | ESPS Phase 2- Incorporation of Energy | Definitions, SDC, OC, PC,DR, DRC Schedule | Standard |  | UR Approved | 2025-06-03 | Incorporated to GC July 2025
SPID 04_2024 | SONI GCRP | SONI | 2024-06-12 | AGU Definition Modification | To Alter AGU definition re. unit capacity | Standard | 2024-06-12 | UR Approved |  | Currently with the Utility Regulator for Approval
SPID 05_2024 | SONI GCRP | SONI | 2025-01-31 | DSU Notice To React changes | Appropriate GC modifications | Standard |  | Open |  | Updates on consultation, possible new proposal
SPID 06_2024 | SONI GCRP | SONI |  | Demand LVRT |  |  |  | Open
SPID 07_2024 | SONI GCRP | SONI | 2024-12-04 | Synchronous Condensor Units (SCU) | Definitions, PC, PC.A, CC, OC, SDC | Standard | 2024-12-20 | Open

## Lists
Category | Status
Standard | Open
Urgent | Closed
Consultation
Dormant
UR Approved
UR Rejected